3 calibration samples

Calibration Sample 1 (Wet Soil)

Sensor readings:

Soil moisture: 618

Soil moisture: 614

Soil moisture: 611

Soil moisture: 609

Soil moisture: 616

Soil moisture: 607

Soil moisture: 620

Soil moisture: 613

Soil moisture: 610

Soil moisture: 608

Average sensor value: 612.6

Wwet = 220 g

Wdry = 200 g

Calculation:

[(220 – 200)/200]*100 = 10%

Soil moisture = 10%

Calibration Sample 2 (Moist Soil)

Sensor readings:

Soil moisture: 502

Soil moisture: 497

Soil moisture: 495

Soil moisture: 491

Soil moisture: 488

Soil moisture: 493

Soil moisture: 500

Soil moisture: 496

Soil moisture: 492

Soil moisture: 489

Average sensor value: 494.3

Wwet = 210 g

Wdry = 195 g

Calculation:

[(210 – 195)/195]*100 ≈ 7.7%

Soil moisture ≈ 7.7%

Calibration Sample 3 (Dry Soil)

Sensor readings:

Soil moisture: 392

Soil moisture: 387

Soil moisture: 385

Soil moisture: 390

Soil moisture: 382

Soil moisture: 388

Soil moisture: 395

Soil moisture: 384

Soil moisture: 386

Soil moisture: 381

Average sensor value: 387

Wwet = 205 g

Wdry = 198 g

Calculation:

[(205 – 198)/198]*100 = ≈ 3.5%

Soil moisture ≈ 3.5%